## Opsti uslovi General Conditions
Targetirani uslovi nabavke:
1. Placanje po okončanoj situaciji, sa odloženim rokom plaćanja od 60 dana,
2. Eventualno angažovanje izvođača u vreme državnih praznika ili noćni rad tokom obavljanja unapred dogovorenog projekta sa unapred dogovorenim rokovima, neće imati uticaja na ugovorenu cenu,
3. Izuzetno od napred navedenog, noćni rad i rad u vreme državnih praznika biće prihvaćeni kao osnov za uvećanje radnih sati, odnosno dnevnice angažovanih lica u skladu sa Zakonom o radu, isključivo u slučajevima kada se ovakav rad obavlja na izričit i pismen zahtev Delhaize Serbia, za pojedinačne zahteve koji su od strane Delhaize Serbia ocenjeni kao neodložni,
4. Garancija na sve izvedene radove i ugrađenu opremu mora biti najmanje 24 meseca,
5. Pre potpisivanja pojedinačnih ugovora za svaki prodajni objekat, izvođač je u obavezi da obezbedi bankarsku garanciju za garantni rok u vrednosti od 5% od vrednosti ugrađene opreme, sa rokom trajanja tri dana dužim od garantnog roka koji je dat za ugrađenu opremu,
6. Pre potpisivanja pojedinačnih ugovora za svaki prodajni objekat, izvođač je u obavezi da obezbedi bankarsku garanciju za dobro izvršenje posla u vrednosti od 10% od procenjene vrednosti radova za taj ugovor, sa važnošću do isporuke, montaže/ instalacije i puštanja u probni rad,
7. Izvođač će osigurati radove u skladu sa najboljom praksom, o svom trošku, i obezbediti polise osiguranja i to Polisu osiguranja od svih rizika – CAR Osiguranje u iznosu jednakom punoj vrednosti radova, s tim da je uključeno i osiguranje od profesionalne odgovornosti Izvođača, i polisu osiguranja od odgovornosti Izvođača za štetu prouzrokovanu trećim licima izvan gradilišta i na gradilištu,
Targeted conditions of the procurement
1. Payment after final payment certificate, with a defferred payment period of 60 days,
2. Possible works carried out by the Contractor in the period of national holidays or night work in course of previously contracted project and with previously set deadlines will not influence the established price,
3. Except for the above mentioned situations, night work and work during national holidays will be accepted as basis for increasing of number of working hours and salaries of hired workers according to Labor law, only when this kind of work is done on explicit written request of Delhaize Serbia, for specific requests deemed irremissible by Delhaize Serbia,
4. Warranty period for all executed works and all installed equipment must be at least 24 months,
5. Before signing specific contracts for each store, the Contractor must provide bank guarantee for the specified warranty period in the amount of 5% of the value of the installed equipment, and the validity period of the bank guarantee must be 3 days longer than the warranty period for the installed equipment,
6. Before signing specific contracts for each store, the Contractor must provide bank guarantee for good execution in the amount of 10% of the estimated value of works stated in the contract, whose validity period will cover delivery, installation and trial run,
7. The Contractor will insure the works in accordance to best practice, on its own expenses, and provide following insurance policies: all-risk insurance – CAR insurance in the amount of the total value of works, which will also include contractor’s professional liability insurance, and third party liability insurance for contractors for damage to third party on the construction site and out of it.

## Uvodne napomene Intro. remarks
UVODNE NAPOMENE
No | Opis opreme i radova
UVOD
0.1 | Ovom specifikacijom predviđeno je:
-isporuka osnovnog materijala navedenog u pozicijama,
-isporuka montažnog (pomoćnog) materijala potrebnog za kompletnu izradu instalacija i postrojenja,
-ugradnja osnovnog materijala na način opisan u pozicijama i uz pomoć montažnog materijala,
-povezivanje, ispitivanje instalacije i postrojenja i puštanje u ispravan rad,
-dovođenje u ispravno (prvobitno) stanje svih oštećenih mesta na već izvedenim instalacijama i konstrukcijama,
0.2 | Cena svake pozicije obuhvata:
-nabavnu cenu, transport i osiguranje do gradilišta osnovnog materijala,
-nabavnu cenu, transport i osiguranje do gradilišta montažnog (pomoćnog) materijala,
-izradu eventualno potrebne radioničke dokumentacije koju radi izvođač,
-obrada vodova i kablova na njihovim krajevima i izvršenim povezivanjem istih na oba kraja,
-ispitivanje i puštanje u ispravan rad svih elemenata instalacije i postrojenja navedenih u pozicijama. Ukoliko investitor sam nabavlja osnovni materijal, onda cena pozicije sadrži sve ostalo izuzev cene transporta i osiguranja osnovnog mateijala.
0.3 | Sav ugrađeni materijal mora biti prvoklasnog kvaliteta i odgovarati SRPS-u ili priznatim međunarodnim standardima. Svi radovi moraju biti izvedeni sa stručnom radnom sanagom i u potpunosti prema važećim tehničkim propisima za predmetnu vrstu radova.
0.4 | Navedeni tipovi i proizvođači pojedinih delova opreme ili instalacionog materijala dati su kao bliži podatak i nisu obavezni. Izvođač može ugraditi i drugu opremu odnosno materijal, ali pod uslovom da ta oprema ima iste elektrotehničke i konstruktivne karakteristike kao i navedena oprema , što potvrđuje i overava stručno lice investitora - nadzorni organ.
INTRODUCTORY NOTES
No | Description of equipment and works
INTRODUCTION
0.1 | This specification includes:
-delivery of basic material listed in the positions
-delivery of installation (additional) material for the complete construction of electrical installations and installment
-installation of basic material as instructed in the positions by using the installation material,
-connecting, testing of the installations and the installment and putting into operation
-repairing all the damages on existing installations and constructions,
0.2 | The price of every position includes:
-buying price, insurance of the basic material and its transport to the construction site,
-buying price, insurance of the installation (additional) material and its transport to the construction site
-preparation of the workshop documentation by the Contractor
-processing the ends of the lines and cables and connecting them on both ends
-testing and putting into operation of all elements of installations and installment listed in the positions. If the investor procures the basic material himself, the price of the position includes everything except the cost of transport and insurance of the basic material
0.3 | -Installed material must be of first class quality and compliant with SRPS or recognized international standards. All works must be carried out by skilled workers and in accordance to applicable technical regulations.
0.4 | -The stated types and manufacturers of the equipment or installation material are descriptive and are not obligatory. The Contractor can install other equipment or use different material, as long as the equipment has the same electrical, technical and constructive characteristics as the listed equipment, which is confirmed and certified by the Supervisor.

## TIS
PREDMER I PREDRAČUN ZA SISTEME TELEKOMUNIKACIONIH I SIGNALNIH INSTALACIJA
Nabavka, isporuka i montaža opreme za sisteme telekomunikacionih i signalnih instalacija za OBJEKAT BIVŠE FABRIKE FEMID - B.Palanka
| Naziv | Jedinica mere | Količina | Jed. Cena (RSD) | Cena (RSD)
OPREMA
1. | SISTEM PROTIVPROVALNE SIGNALIZACIJE
1.1 | Alarmna centrala 192 zona (EVO192 ili sl.), BUS tehnologija, 8 zona na ploči (16 sa ATZ), 4 particije, 2 PGM izlaza na ploči, funkcija kontrole pristupa, do 127/95 modula za proširenje u kompletu sa LCD šifratorom EVO 641BL/DGP2-641BL i metalnom kutijom 11"x11".Slicna tipu Paradox EVO192 u kompletu sa LCD šifratorom EVO 641BL/DGP2-641BL i metalnom kutijom 11"x11". Nabavka, isporuka, montaža, povezivanje i programiranje. | kom. | 1
1.2 | Akumulatorska baterija AKU7 čiji kapacitet obezbeđuje rad sistema u slučaju ispada mrežnog napajanja, 12 VDC, 7 Ah. Nabavka, isporuka, montaža i povezivanje. | kom. | 1
1.3 | Čoperski izvor napajanja 1,7A sa potpunim nadzorom (prisustvo AC, prisustvo akumulatora, neispravan akumulator, preopterećenje), sa metalnom kutijom. | kom. | 2
1.4 | Telefonski automat za daljinsku dojavu, dve nezavisne govorne poruke do 8 telefonskih brojeva, sl. tipu Paradox Paravox V710. Nabavka, isporuka, montaža i povezivanje. | kom. | 1
1.5 | Magnetni kontakt, detektor otvaranja.sl. tipu (DGP2-ZC1) Nabavka, isporuka, montaža i povezivanje. | kom. | 2
1.6 | Detektor pokreta, domet 12m, vidni ugao 110°, digitalni sa dualnim senzorskim elementom DGP2-50/DM50 ili sl.metalni oklop omogućava maksimalnu zaštitu od RF i EM smetnji. Nabavka, isporuka, montaža i povezivanje. | kom. | 22
1.7 | Detektor loma stakla, kom/pcs/pcspletna analiza zvučnog i ultrazvučnog spektra, domet 9m ili 4.5m DG457 GLASSTREK BUS ili sl. Nabavka, isporuka, montaža i povezivanje. | kom. | 2
1.8 | Alarmna sirena za unutrašnju montažu.Unutrašnja sirena sa blicerom, antisabotažno zaštićena, sa baterijom 500mA Alarm u slučaju gubitka napajanja, podešavanje eksternog ili internog tampera Nabavka, isporuka, montaža i povezivanje. | kom. | 5
1.9 | Spoljna sirena sa blicerom, antisabotažno zaštićena, dvostruko kućište, servisni mod PS-129 pozitivna i negativna trigeracija, alarm u slučaju gubitka napajanja, zaštita od kratkog spoja automatsko testiranje svih parametara uz indikaciju neipravnosti, tajmer, indikacija praznog akumulatora, sirena 128dB. Nabavka, isporuka, montaža i povezivanje. | kom. | 1
1.10 | Završna merenja, izdavanje atesta, puštanje sistema u rad, obuka korisnika. | pauš. | 1
1.11 | Izrada projekta izvedenog stanja | pauš. | 1
UKUPNO 1.SISTEM PROTIVPROVALNE SIGNALIZACIJE
2 | STRUKTUIRANI KABLOVSKI SISTEM
2.1 | Zidni kabinet, 19", 15 HU, 600x450x800mm mm, opremljen sa: - 19" nosačem sa vertikalnim kablovskim vođicama; - Prednjim staklenim vratima sa bravom; - Opremom za uzemljenje; - Šinom za napajanje 220 V sa osiguračem; - Neonskom/pcs lampom 220V; - Ventilatorskom/pcs jedinicom (1x fun i termostat); - 3 x nosač za aktivnu opremu. Kabinet kompletno insataliran, priključen na el.energetski izvod i uzemljen na glavnu sabirnicu za izjednačavanje potencijala. | kom. | 1
2.2 | TP priključni panel (nepopunjen), 1HU, sa integrisanim "Clip-on" mehanizmom za terminaciju FTP/SFTP kablova, kapaciteta 24 RJ45, montiran u kućištu BD-a. Nabavka, isporuka, montaža | kom. | 3
2.3 | Uvodnik ranžirnih kablova (patch guides) 19'',1HU montiran u kućištu BD. | kom. | 4
2.4 | Konektor tipa RJ45 screen cat.6 za terminaciju SFTP kablova, montiran u priključni panel. Nabavka, isporuka, montaža, povezivanje | kom. | 38
2.5 | Trostruka telekomunikaciona utičnica 2xRJ45 sa: TP konektorskim modulom sa integrisanim sistemom označavanja, zastorom i dva RJ45 screen konektorom cat.6 za STP Predviđena je za montažu u parapetni razvod. | kom. | 5
2.6 | Dvostruka telekomunikaciona utičnica 2xRJ45 sa: TP konektorskim modulom sa integrisanim sistemom označavanja, zastorom i dva RJ45 screen konektorom cat.6 za STP | kom. | 1
2.7 | Završna merenja, izdavanje atesta, puštanje sistema u rad, obuka korisnika. | pauš. | 1
2.8 | Izrada projekta izvedenog stanja | pauš. | 1
UKUPNO 2. STRUKTUIRANI KABLOVSKI SISTEM
3 | KONTROLA PRISTUPA
3.1 | Modul za kontrolu pristupa - 4-žični. Omogućava priključenje čitača na BUS, magnetnog kontakta, tastera za izlaz, električne brave, u kom/pcspletu sa metalnom kutijom tip ACM12. Nabavka, isporuka, montaža i povezivanje. | kom. | 1
3.2 | Čitač beskontaktnih kartica za unutrašnju montažu, domet do 10cm tip Paradox R870. Nabavka, isporuka, montaža i povezivanje. | kom. | 1
3.3 | Električna brava 124 x 32 x 32 mm, 12Vdc Nabavka, isporuka, montaža i povezivanje. | kom. | 1
3.4 | Magnetni kontakt, detektor otvaranja.sl. tipu SC100. Nabavka, isporuka, montaža i povezivanje. | kom. | 2
3.5 | Proximity beskontaktna kartica ISO proximity 125KHz kartica sa površinom pogodnom za štampanje Nabavka, isporuka, montaža i povezivanje. | kom. | 50
3.6 | Taster za otvaranje električne brave. Taster za deblokadu elektromagnetnog prihvatnika u kom/pcspletu sa kutijom za ugradnu montažu. AR-PB-6AN Nabavka, isporuka, montaža i povezivanje. | kom. | 1
3.7 | Završna merenja, izdavanje atesta, puštanje sistema u rad, obuka korisnika. | kom. | 1
3.8 | Izrada projekta izvedenog stanja | kom. | 1
UKUPNO 3. KONTROLA PRISTUPA
4. | SISTEM VIDEO NADZORA
4.1 | H.265+ pentabrid digitalni video snimač XVR5216AN-4KL-X ili ekvivalentan, podržava 16 HDCVI / TVI / AHD / analognih kamera do 5MP i osam dodatnih IP kamera do 8MP. 16+8 kanalni stand-alone penta-brid DVR (analog + HDCVI + AHD + TVI + IP); H.264 i H.264+/G.711 kompresija 16 video ulaza; VGA izlaz; HDMI izlaz; 1 audio ulaz/1 izlaz; USB x2 (1 USB 2.0 , 1 USB 3.0) - za lokalni backup i miš RS485 Rezolucija/frame rate za snimanje po kameri 4K(1~7fps); 5MP(1~12fps); 4MP/ 3MP(1~15fps); 1080P /720P /960H /D1 /CIF /QCIF (1~25/30fps); Rezolucija prikaza 720×576 ili do 3840×2160 (HDMI); Dual stream; 2 SATA porta - za do 2 SATA HDD do 10TB (do 20TB ukupno); Network port 10/100/1000Mbps; CMS software (PSS i PSS Smart); Web pristup; Software za iPhone i Android platforme; Besplatan Dahua DDNS; P2P podrška; audio preko coax; Nabavka, isporuka, montaža, povezivanje i programiranje | kom. | 1
4.2 | HDCVI kamera HAC-HFW1400R-Z-IRE6-2712 ili ekvivalentna, 4 megapiksela, vodootporna u bullet IP67 kućištu, sa varifokalnim motorizovanim objektivom 2,7 ~ 12mm 1/2.7'' CMOS senzor, 4 MP, DWDR, 2DNR, HD and SD dual-output, dan/noć funkcija, ICR filter, AWB, AGC, BLC, motorizovani varifokalni objektiv 2,7 ~ 12mm, Smart infracrvene diode maksimalnog dometa do 60m, IP67, DC12V. Nabavka, isporuka, montaža, povezivanje | kom. | 8 |  |  | DCAD-2C55EC2P-VFIR3
4.3 | Nazidna dozna za montažu kamere HAC-HFW1400R-Z-IRE6-2712. PFA130-E. Nabavka, isporuka, montaža, povezivanje | kom. | 8 |  |  | DCAD-2C55EC2P-VFIR3
4.4 | HDCVI kamera HAC-HDW1400M-0280, 4 megapiksela, Effective Pixels 2560(H)×1440(V), vodootporna, u dome IP67 kućištu, sa smart IC diodama Image Sensor 1/2.7'' CMOS 4 megapikselni CMOS čip, Max 4MP real-time ,DWDR, HD and SD dual-output, dan/noć funkcija, ICR filter, AWB, AGC, BLC, 2D redukcija šuma, objektiv 2.8mm, Smart infracrvene diode maksimalnog dometa do 30m, IP67, DC12V. Odgovarajuća nazidna dozna je PFA13A-E. Nabavka, isporuka, montaža, povezivanje | kom. | 7 |  |  | DCAB-1811CC2P box kamera
4.5 | Nazidna dozna za montažu kamere HAC-HFW1400R-Z-IRE6-2712. PFA13A-E. Nabavka, isporuka, montaža, povezivanje | kom. | 7 |  |  | DCAD-2C55EC2P-VFIR3
4.6 | 22" SVGA TFT/LCD kolor monitor. Nabavka, isporuka, montaža, povezivanje. | kom. | 1
4.7 | Nosač za nadzidnu ili plafonsku montažu 22" kolor monitora. Nabavka, isporuka, montaža | kom. | 1
4.8 | Napajanje za kamere, 10A, 18 kanala, radna temperatura -20-60°C, težina 2,24kg, dimenzije 264x206x90mm Nabavka, isporuka, montaža i povezivanje. | kom. | 1
4.9 | Hard disk 4 TB Nabavka, isporuka, montaža | kom. | 1
4.10 | Završna merenja, izdavanje atesta, puštanje sistema u rad, obuka korisnika. | pauš. | 1
4.11 | Izrada projekta izvedenog stanja | pauš. | 1
UKUPNO 4. SISTEM VIDEO NADZORA
5 | INTERFONSKI SISTEM
5.1 | Nazidna pozivna stanica sa 1 tasterom, eloksirani Al: - metalni taster sa pozlaćenim kontaktom - integrisana mikrozvučna kombincija - dimenzije (VxŠxD): 153x104x16mm Slična tipu PAK01-EN, TCS. Nabavka, isporuka, montaža i povezivanje. | kom. | 1
5.2 | Napojno-kontrolna jedinica slična tipu BVS-20 TCS, montirana u instalacioni ugradni ormarić, dimenzija ne manjih od 150x150x dubine 100 mm | kom. | 1
5.3 | Interfonski govorni aparat, sličan tipu ISH1030, TCS Nabavka, isporuka, montaža i povezivanje. | kom. | 1
5.4 | Električni prihvatnik, sličan tipu 96EADLJ MCM, Španija - impulsni - sa podešavanjem levo-desno - univerzalni za leva i desna vrata Nabavka, isporuka, montaža i povezivanje. | kom. | 1
5.5 | Ugradni taster sklopka (crvene boje) | kom. | 1
5.6 | Hidraulična ruka za vrata, sličan tipu HMR (DORMA, Nemačka) - podešavajuća snage 2 do 4 - srebrne boje Nabavka, isporuka, montaža i povezivanje. | kom. | 1
UKUPNO 5. INTERFONSKI SISTEM
KABLOVI, KABLOVSKI NOSAČI, INSTALACIONI MATERIJAL
1. | SISTEM PROTIVPROVALNE SIGNALIZACIJE
1.1 | Instalacioni kabl sa omotačem bez halogenih elemenata, tipa JH(St)H 3x2x0,8 mm. Nabavka, isporuka, polaganje najvećim delom kroz PNK regale. | m | 1120
1.2 | Instalaciona creva PVC fi 16mm - bez halogena, kompletno instalirana na zidu ili konstrukciji ispod prethodno obijenog maltera. Nabavka, isporuka, polaganje ispod maltera u zid. | m | 840
1.3 | PNK regal sa “master click” sistemom, dimenzije 100x50x3000mm. Nosač kablova na sebi sadrži integrisanu click spojnicu koja obezbeđuje izjednačavanje potencijala celom dužinom bez dodatnih elemenata. Kablovski nosači se koriste za polaganje svih instalacija TIS. Nabavka, isporuka, polaganje na zid. | m | 150
UKUPNO 2.SISTEM PROTIVPROVALNE SIGNALIZACIJE
2. | STRUKTUIRANI KABLOVSKI SISTEM
2.1 | S/FTP četvoroparični kabl, kategorije 6, 100 ohm, 0,5 mm/24AWG - bez halogena. Kompletno položen delom na regalima, parapetnim kanalima i PVC cevima u zidu ili podu i konektovan na oba kraja. Nabavka, isporuka, polaganje. | m | 610
2.2 | Telefonski kabl tipa J-H(ST)H 10x2x0,6mm. Kompletno položen delom na regalu delom u PVC cevima u zidu sa izvršenom konekcijom na Telefonskom priključnom panelu u okviru reka-a i na regletama u okviru PTT ormana. Nabavka, isporuka, polaganje. | m | 10
2.3 | Instalaciona creva PVC fi 16mm - bez halogena, kompletno instalirana na zidu ili konstrukciji ispod prethodno obijenog maltera. Nabavka, isporuka, polaganje ispod maltera u zid. | m | 300
UKUPNO 2. STRUKTUIRANI KABLOVSKI SISTEM
3. | KONTROLA PRISTUPA
3.1 | Instalacioni kabl sa omotačem bez halogenih elemenata, tipa JH(St)H 3x2x0,8 mm. Nabavka, isporuka, polaganje najvećim delom kroz PNK regale. | m | 50
3.2 | Instalaciona creva PVC fi 16mm - bez halogena, kompletno instalirana na zidu ili konstrukciji ispod prethodno obijenog maltera. Nabavka, isporuka, polaganje ispod maltera u zid. | m | 20
UKUPNO 3. KONTROLA PRISTUPA
4. | SISTEM VIDEO NADZORA
4.1 | Instalacioni kabl sa omotačem bez halogenih elemenata tipa RG-59+2x0,75 HF. RG-59 koaksijalni kabl 75 Ohm sa napojnim kablom 2x0,75 mm². Nabavka, isporuka, polaganje najvećim delom kroz PNK regale. | m | 750
4.2 | Instalaciona creva PVC fi 16mm - bez halogena, kompletno instalirana na zidu ili konstrukciji ispod prethodno obijenog maltera. Nabavka, isporuka, polaganje ispod maltera u zid. | m | 410
4.3 | VGA kabl dužine 10m Nabavka, isporuka, polaganje. | kom. | 1
UKUPNO 4. SISTEM VIDEO NADZORA
5. | INTERFONSKI SISTEM
5.1 | Instalacioni kabl sa omotačem bez halogenih elemenata, tipa JH(St)H 4x2x0,8 mm. Nabavka, isporuka, polaganje najvećim delom kroz PNK regale. | m | 80
UKUPNO 5. INTERFONSKI SISTEM
6. | GRAĐEVINSKI RADOVI
6.1 | Mašinski iskop i zatrpavanje rova dimenzija 0.3x1 m u zemlji III kategorije za potrebe polaganja cevi za potrebe polaganja kablova instalacije slabe struje. U cenu uračunati i odvoz viška zemlje na deponiju udaljenu do 15km.Plaća se po metru. | m | 70
6.2 | Prosecanje asflatnih površina, razbijanje asfalta za iskop rova I vraćanje asfaltnih površina u prvobinom stanju minimalna debljine asfalta 7cm. U cenu uračunati I zatrpavanje rova rizlom sa mašinskim nabijanjem tla. Dimenzija rova je 0.3. Plaća se komplet po metru dužnom. | pauš | 8
6.3 | Nabavka, Isporuka i postavljanje u rovu glatkih PE cevi prečnika Ø 40 mm. za formiranje kablovske kanalizacije za polaganje elektroenergetskih i telekomunikacionih kablova I postavljanje mesinganih oznaka za kablovske trase.Plaća se po meteru. | pauš | 150
6.4 | Izrada probijanjem temeljnog zida za uvlačenje optičkog kabla unutar proizvodne hale iadministrativnog objekta. U cenu je uračunato i postavljanje potrebnih krivina za prelaz sa vertikalno na horizontalno polaganje kabla. Nakon završetka radova otvore adekvatno zatvoriti. | pauš | 2
6.5 | Popunjavanje prodora smesom otpornom na požar, između požarnih sektora. | pauš | 1
6.6 | Sitni nespecificirani rad i materijal. Konačan obračun se vrši prema stvarno izvedenim količinama. | pauš | 1
UKUPNO 6. GRAĐEVINSKI RADOVI
1. | SISTEM PROTIVPROVALNE SIGNALIZACIJE
2. | STRUKTUIRANI KABLOVSKI SISTEM
3. | KONTROLA PRISTUPA
4. | SISTEM VIDEO NADZORA
5. | INTERFONSKI SISTEM
UKUPNO OPREMA:
KABLOVI, KABLOVSKI NOSAČI, INSTALACIONI MATERIJAL
1. | SISTEM PROTIVPROVALNE SIGNALIZACIJE
2. | STRUKTUIRANI KABLOVSKI SISTEM
3. | KONTROLA PRISTUPA
4. | SISTEM VIDEO NADZORA
5. | INTERFONSKI SISTEM
6. | GRAĐEVINSKI RADOVI
UKUPNO KABLOVI, KABLOVSKI NOSAČI, INSTALACIONI MATERIJAL:
UKUPNO TELEKOMUNIKACIONE I SIGNALNE INSTALACIJE (RSD):